## FS Riser Assemblies
Price Book Date: | 2025-11-21
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
RISER MANIFOLDS
RISER MANIFOLD- RESIDENTIAL
6520350-0100 | System Sensor Residential Riser 1" w/ Base Trim | 378.27 | 340.44 | 321.53 |  |  | 9.3
6520350-0125 | System Sensor Residential Riser 1-1/4" w/ Base Trim | 382.07 | 343.86 | 324.76 |  |  | 10.2
6520350-0150 | System Sensor Residential Riser 1-1/2" w/ Base Trim | 384.45 | 346.01 | 326.78 |  |  | 10.8
6520350-0200 | System Sensor Residential Riser 2" w/ Base Trim | 390.68 | 351.61 | 332.08 |  |  | 12.5
6520351-0100 | System Sensor Residential Riser 1" w/ Pressure Relief | 408.12 | 367.31 | 346.9 |  |  | 11.1
6520351-0125 | System Sensor Residential Riser 1-1/4" w/ Pressure Relief | 411.93 | 370.74 | 350.14 |  |  | 12
6520351-0150 | System Sensor Residential Riser 1-1/2" w/ Pressure Relief | 414.33 | 372.9 | 352.18 |  |  | 12.6
6520351-0200 | System Sensor Residential Riser 2" w/ Pressure Relief | 420.55 | 378.5 | 357.47 |  |  | 14.3
6520352-0100 | System Sensor Residential Riser 1" w/ T&D Valve | 435.64 | 392.08 | 370.29 |  |  | 10.9
6520352-0125 | System Sensor Residential Riser 1-1/4" w/ T&D Valve | 439.45 | 395.51 | 373.53 |  |  | 11.6
6520352-0150 | System Sensor Residential Riser 1-1/2" w/ T&D Valve | 441.83 | 397.65 | 375.56 |  |  | 12.3
6520352-0200 | System Sensor Residential Riser 2" w/ T&D Valve | 448.05 | 403.25 | 380.84 |  |  | 13.9
6520353-0100 | System Sensor Residential Riser 1" w/ Pressure Relief and T&D | 458.94 | 413.05 | 390.1 |  |  | 12.5
6520353-0125 | System Sensor Residential Riser 1-1/4" w/ Pressure Relief and T&D | 462.75 | 416.48 | 393.34 |  |  | 13.4
6520353-0150 | System Sensor Residential Riser 1-1/2" w/ Pressure Relief and T&D | 465.12 | 418.61 | 395.35 |  |  | 14.1
6520353-0200 | System Sensor Residential Riser 2" w/ Pressure Relief and T&D | 471.35 | 424.22 | 400.65 |  |  | 15.7
6520370-0100 | Potter Residential Riser 1" w/ Base Trim | 392.62 | 353.36 | 333.73 | 2 |  | 9.2
6520370-0125 | Potter Residential Riser 1-1/4" w /Base Trim | 396.08 | 356.47 | 336.67 | 2 |  | 9.5
6520370-0150 | Potter Residential Riser 1-1/2" w /Base Trim | 398.16 | 358.34 | 338.44 | 2 |  | 9.9
6520370-0200 | Potter Residential Riser 2" w/ Base Trim | 406.6 | 365.94 | 345.61 | 2 |  | 10.9
6520371-0100 | Potter Residential Riser 1" w /Pressure Relief | 417.5 | 375.75 | 354.88 | 2 |  | 10.5
6520371-0125 | Potter Residential Riser 1-1/4" w/ Pressure Relief | 420.96 | 378.86 | 357.82 | 2 |  | 10.8
6520371-0150 | Potter Residential Riser 1-1/2" w /Pressure Relief | 423.04 | 380.74 | 359.58 | 2 |  | 11.2
6520371-0200 | Potter Residential Riser 2" w/ Pressure Relief | 428.8 | 385.92 | 364.48 | 2 |  | 12.2
6520372-0100 | Potter Residential Riser 1" w/ T&D Valve | 448.32 | 403.49 | 381.07 | 2 |  | 10.6
6520372-0125 | Potter Residential Riser 1-1/4" w/ T&D Valve | 451.78 | 406.6 | 384.01 | 2 |  | 10.9
6520372-0150 | Potter Residential Riser 1-1/2" w/ T&D Valve | 453.86 | 408.47 | 385.78 | 2 |  | 11.3
6520372-0200 | Potter Residential Riser 2" w/ T&D Valve | 459.62 | 413.66 | 390.68 | 2 |  | 12.3
6520373-0100 | Potter Residential Riser 1" w/ Pressure Relief and T&D | 473.2 | 425.88 | 402.22 | 2 |  | 10.5
6520373-0125 | Potter Residential Riser 1-1/4" w/ Pressure Relief and T&D | 476.66 | 428.99 | 405.16 | 2 |  | 10.8
6520373-0150 | Potter Residential Riser 1-1/2" w/ Pressure Relief and T&D | 481.42 | 433.28 | 409.21 | 2 |  | 11.2
6520373-0200 | Potter Residential Riser 2" w/ Pressure Relief and T&D | 484.52 | 436.07 | 411.84 | 2 |  | 12.2
RISER MANIFOLD- COMMERCIAL
6520355-0200 | System Sensor Riser Manifold Grooved 2" w/ T&D Valve | 595.94 | 536.35 | 506.55 |  |  | 12.7
6520355-0250 | System Sensor Riser Manifold Grooved 2-1/2" w/ T&D Valve | 606.5 | 545.85 | 515.53 |  |  | 14.7
6520355-0300 | System Sensor Riser Manifold Grooved 3" w/ T&D Valve | 610.39 | 549.35 | 518.83 |  |  | 15.9
6520355-0400 | System Sensor Riser Manifold Grooved 4" w/ T&D Valve | 711.7 | 640.53 | 604.95 |  |  | 25.1
6520355-0600 | System Sensor Riser Manifold Grooved 6" w/ T&D Valve | 737.09 | 663.38 | 626.53 |  |  | 35.5
6520355-0800 | System Sensor Riser Manifold Grooved 8" w/ T&D Valve | 820.53 | 738.48 | 697.45 |  |  | 36.2
6520357-0200 | System Sensor Riser Manifold Grooved 2" w/ Pressure Relief | 625.61 | 563.05 | 531.77 |  |  | 14.5
6520357-0250 | System Sensor Riser Manifold Grooved 2-1/2" w/ Pressure Relief | 639.87 | 575.88 | 543.89 |  |  | 16.9
6520357-0300 | System Sensor Riser Manifold Grooved 3" w/ Pressure Relief | 643.76 | 579.38 | 547.2 |  |  | 18.1
6520357-0400 | System Sensor Riser Manifold Grooved 4" w/ Pressure Relief | 752.07 | 676.86 | 639.26 |  |  | 28.2
6520357-0600 | System Sensor Riser Manifold Grooved 6" w/ Pressure Relief | 777.44 | 699.7 | 660.82 |  |  | 45
6520357-0800 | System Sensor Riser Manifold Grooved 8" w/ Pressure Relief | 860.9 | 774.81 | 731.77 |  |  | 52.92
6520355-0200C | System Sensor Riser Manifold Grooved 2" w/ T&D, Bronze Butterball & Check Valve + 4 Couplings | 836.77 | 753.09 | 711.25 |  |  | 33
6520355-0250C | System Sensor Riser Manifold Grooved 2-1/2" w/ T&D, Butterfly & Check Valve + 4 Couplings | 796.31 | 716.68 | 676.86 |  |  | 49.72
6520355-0300C | System Sensor Riser Manifold Grooved 3" w/ T&D, Butterfly & Check Valve + 4 Couplings | 823.26 | 740.93 | 699.77 |  |  | 55.25
6520355-0400C | System Sensor Riser Manifold Grooved 4" w/ T&D, Butterfly & Check Valve + 4 Couplings | 980.39 | 882.35 | 833.33 |  |  | 79.9
6520355-0600C | System Sensor Riser Manifold Grooved 6" w/ T&D, Butterfly & Check Valve + 4 Couplings | 1187.36 | 1068.62 | 1009.26 |  |  | 127.88
6520355-0800C | System Sensor Riser Manifold Grooved 8" w/ T&D, Butterfly & Check Valve + 4 Couplings | 1540 | 1386 | 1309 |  |  | 219.12
6520356-0200 | Potter Riser Manifold Grooved 2" w/ Test & Drain Valve | 616.78 | 555.1 | 524.26 |  |  | 13.6
6520356-0250 | Potter Riser Manifold Grooved 2-1/2" w/ Test & Drain Valve | 626.38 | 563.74 | 532.42 |  |  | 16
6520356-0300 | Potter Riser Manifold Grooved 3" w/ Test & Drain Valve | 629.92 | 566.93 | 535.43 |  |  | 17.4
6520356-0400 | Potter Riser Manifold Grooved 4" w/ Test & Drain Valve | 722.04 | 649.84 | 613.73 |  |  | 27.7
6520356-0600 | Potter Riser Manifold Grooved 6" w/ Test & Drain Valve | 743.24 | 668.92 | 631.75 |  |  | 35.1
6520358-0200 | Potter Riser Manifold Grooved 2" w/ Pressure Relief | 636.1 | 572.49 | 540.69 |  |  | 15
6520358-0250 | Potter Riser Manifold Grooved 2-1/2" w/ Pressure Relief | 649.06 | 584.15 | 551.7 |  |  | 17.7
6520358-0300 | Potter Riser Manifold Grooved 3" w/ Pressure Relief | 652.6 | 587.34 | 554.71 |  |  | 19.1
6520358-0400 | Potter Riser Manifold Grooved 4" w/ Pressure Relief | 751.06 | 675.95 | 638.4 |  |  | 30.4
6520358-0600 | Potter Riser Manifold Grooved 6" w/ Pressure Relief | 774.12 | 696.71 | 658 |  |  | 38.1
6520361 | Pressure Relief Kit (1" thru 2" Residential, 2" Commercial) | 30.16 | 27.14 | 25.64 |  |  | 1.92
6520362 | Pressure Relief Kit (2-1/2" & 3" Commercial) | 33.79 | 30.41 | 28.72 |  |  | 2.29
6520363 | Pressure Relief Kit (4" & 6" Commercial) | 40.48 | 36.43 | 34.41 |  |  | 3.26
STAINLESS STEEL FLEXIBLE DRAIN HOSE KITS FOR RISER ASSEMBLIES
Includes two Threaded x Grooved Nipples, two Grooved Couplings, FLEX DRAIN GxG Hose 31-½"
6532002 | 1" Flex Drain Kit (For 1" - 2" Risers) | 75.93 | 68.34 | 64.54 |  |  | 3.78
6532003 | 1-1/4" Flex Drain Kit (For 2-1/2" - 3" Risers) | 87.33 | 78.6 | 74.23 |  |  | 6.05
6532005 | 2" Flex Drain Kit (For 4" - 8" Risers) | 130.32 | 117.29 | 110.77 |  |  | 9.75
TEST & DRAIN VALVES
6520181 | Test & Drain Valve 1" 5.6K (UL/FM) | 79.38 | 71.44 | 67.47 | 6 | 384 | 2.5
6520182-150 | Test & Drain Valve 1-1/2" 5.6K (UL/FM) | 157.3 | 141.57 | 133.71 | 6 | 288 | 8.05
6520182 | Test & Drain Valve 1-1/4" 5.6K (UL/FM) | 81.09 | 72.98 | 68.93 | 6 | 384 | 2.5
6520182-200 | Test & Drain Valve 2" 5.6K (UL/FM) | 162.95 | 146.66 | 138.51 | 4 | 96 | 6.65
6520181-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1" | 37.82 | 34.04 | 32.15 | 6 |  | 3.5
6520182-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/4" | 54.87 | 49.38 | 46.64 | 6 |  | 3.5
6520182-150-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/2" | 53.7 | 48.33 | 45.65 | 6 |  | 6
6520182-200-PRVKIT | Pressure Relief Kit for Test & Drain Valve 2" | 72.58 | 65.32 | 61.69 | 6 |  | 7.5
6520181-PRV | Test & Drain Valve 1" w/ Pressure Relief (UL/FM) | 122.5 | 110.25 | 104.13 | 6 |  | 3.5
6520182-PRV | Test & Drain Valve 1-1/4" w/ Pressure Relief (UL/FM) | 135.96 | 122.36 | 115.57 | 6 |  | 6
6520182-150-PRV | Test & Drain Valve 1-1/2" w/ Pressure Relief (UL/FM) | 218.53 | 196.68 | 185.75 | 6 |  | 6
6520182-200-PRV | Test & Drain Valve 2" w/ Pressure Relief (UL/FM) | 245.67 | 221.1 | 208.82 | 6 |  | 11.25
RISER CHECK VALVE G X G
6520310 | Riser Check Valve 2" (shotgun) GxG | 88.99 | 80.09 | 75.64 | 4 |  | 7.94
6520311 | Riser Check Valve 2-1/2" (shotgun) GxG | 90.88 | 81.79 | 77.25 | 4 |  | 8.16
6520312 | Riser Check Valve 3" (shotgun) GxG | 109.32 | 98.39 | 92.92 | 4 |  | 10.37
6520313 | Riser Check Valve 4" (shotgun) GxG | 131.78 | 118.6 | 112.01 | 2 |  | 16.98
6520314 | Riser Check Valve 6" (shotgun) GxG | 255.73 | 230.16 | 217.37 | 2 |  | 42.35
6520314A | Riser Check Valve 8" (shotgun) GxG | 378.09 | 340.28 | 321.38 | 2 |  | 66.14
TRIM FOR RISER CHECK VALVE
6520315 | Trim for 2" Riser Check Valve (shotgun) | 70.73 | 63.66 | 60.12 |  |  | 4.24
6520316 | Trim for 2-1/2", 65MM, & 3" Riser Check Valve (shotgun) | 81.55 | 73.4 | 69.32 |  |  | 4.6
6520317 | Trim for 4" Riser Check Valve (shotgun) | 121.59 | 109.43 | 103.35 |  |  | 7.96
6520318 | Trim for 6", 8" & 150MM Riser Check Valve (shotgun) | 125.53 | 112.98 | 106.7 |  |  | 7.3
FIRE SPRINKLER GAUGES
PLASTIC BACK GAUGES
6510160 | Fire Sprinkler Gauge 300# Air/Water (UL/FM) USA | 12.45 | 11.21 | 10.58 | 60 | 720 | 0.47
6510161 | Fire Sprinkler Gauge 300# Water (UL/FM) USA | 12.45 | 11.21 | 10.58 | 60 | 720 | 0.47
6510162 | Fire Sprinkler Gauge 0-80-250# Air w/ Retard (UL/FM) USA | 12.45 | 11.21 | 10.58 | 60 | 720 | 0.47
6510163 | Fire Sprinkler Gauge 300# Air 1/4" NPT (UL/FM) USA | 12.45 | 11.21 | 10.58 | 60 | 720 | 0.47
STEEL BACK GAUGES
6510162STL | Fire Sprinkler Gauge 250# Air w/ Retard Steel (UL/FM) USA | 15.31 | 13.78 | 13.01 | 60 |  | 0.7
6510164STL | Fire Sprinkler Gauge 300# Air/Water Steel Back (UL/FM) USA | 15.31 | 13.78 | 13.01 | 60 |  | 0.7
6510165STL | Fire Sprinkler Gauge 300# Water Steel Back (UL/FM) USA | 15.31 | 13.78 | 13.01 | 60 |  | 0.7
6510166STL | Fire Sprinkler Gauge 300# Air Steel Back (UL/FM) USA | 15.31 | 13.78 | 13.01 | 60 |  | 0.7
THREE WAY VALVE
6520190 | 3 Way Gauge Valve 1/4" | 7.26 | 6.53 | 6.17 | 144 | 3600 | 0.45
WATER FLOW SWITCHES
CONTRACTOR
7710007S | Safe Signal 1" to 2" Water Flow Switch (WFDTN) | 146.32
7710008S | System Sensor 2" Water Flow Switch (WFD20N) | 138.44
7710009S | System Sensor 2-1/2" Water Flow Switch (WFD25N) | 138.44
7710010S | System Sensor 3" Water Flow Switch (WFD30N) | 138.44
7710012S | System Sensor 4" Water Flow Switch (WFD40N) | 138.44
7710014S | System Sensor 6" Water Flow Switch (WFD60N) | 138.44
7710015S | System Sensor 8" Water Flow Switch (WFD80N) | 166.25
7710007 | Potter VSRS 1" to 2" Water Flow Switch (WFDTH) | 161.69
7710008 | Potter VSR Series Vane Type Water Flow Switch 2" (WFD20) | 152.84
7710009 | Potter VSR Series Vane Type Water Flow Switch 2-1/2"(WFD25) | 152.84
7710010 | Potter VSR Series Vane Type Water Flow Switch 3"(WFD30) | 152.84
7710012 | Potter VSR Series Vane Type Water Flow Switch 4"(WFD40) | 152.84
7710014 | Potter VSR Series Vane Type Water Flow Switch 6"(WFD60) | 152.84
7710015 | Potter VSR Series Vane Type Water Flow Switch 8"(P1144408) | 177.25
POST INDICATOR
6520280 | FP Upright Post Indicator (UL/FM) | 1230.53 | 1107.48 | 1045.95 | 2 | 20 | 211.58
6520281 | FP Wall Post Indicator w/ Shaft (UL/FM) | 630.61 | 567.55 | 536.02 | 2 |  | 90.67
CONTRACTOR
3099112 | Wrench P.I.V. Universal | 179.74

## FS Control Butterfly
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
*ALL FIRE SPRINKLER CONTROL BUTTERFLY VALVES INCLUDE TAMPER SWITCH
BUTTERFLY VALVES GROOVED DUCTILE IRON 300#
6520250 | Butterfly Valve Groove 2-1/2" 300# (UL/FM) | 138.75 | 124.88 | 117.94 | 4 | 96 | 18.5
6520251 | Butterfly Valve Groove 3" 300# (UL/FM) | 132.46 | 119.21 | 112.59 | 3 | 72 | 20
6520252 | Butterfly Valve Groove 4" 300# (UL/FM) | 163.94 | 147.55 | 139.35 | 3 | 48 | 25
6520253 | Butterfly Valve Groove 6" 300# (UL/FM) | 223.59 | 201.23 | 190.05 | 2 | 48 | 32.4
6520254 | Butterfly Valve Groove 8" 300# (UL/FM) | 367.53 | 330.78 | 312.4 | 2 | 24 | 70
6520255 | Butterfly Valve Groove 10" 300# (UL/FM) | 976.65 | 878.99 | 830.15 | 1 | 8 | 90
6520250-NC | Butterfly Valve Grooved 2-1/2" (Supervised Closed) 300# (UL/FM) | 201.01 | 180.91 | 170.86 | 4 | 50 | 18.5
6520251-NC | Butterfly Valve Grooved 3" (Supervised Closed) 300# (UL/FM) | 209.48 | 188.53 | 178.06 | 3 | 50 | 20
6520252-NC | Butterfly Valve Grooved 4" (Supervised Closed) 300# (UL/FM) | 251.81 | 226.63 | 214.04 | 2 | 40 | 24
6520253-NC | Butterfly Valve Grooved 6" (Supervised Closed) 300# (UL/FM) | 331.39 | 298.25 | 281.68 | 2 | 24 | 36
6520254-NC | Butterfly Valve Grooved 8" (Supervised Closed) (UL/FM) | 514.82 | 463.34 | 437.6 | 2 | 20 | 50
BUTTERFLY VALVES THREADED BRONZE 300#
6520290 | Bronze Butterfly Valve Threaded 1" 300# | 131.05 | 117.95 | 111.39 | 4 | 96 | 4.2
6520291 | Bronze Butterfly Valve Threaded 1-1/4" 300# | 140.56 | 126.5 | 119.48 | 4 | 96 | 4.3
6520292 | Bronze Butterfly Valve Threaded 1-1/2" 300# | 157.06 | 141.35 | 133.5 | 4 | 96 | 4.3
6520293 | Bronze Butterfly Valve Threaded 2" 300# | 182.18 | 163.96 | 154.85 | 4 | 96 | 5.6
6520295 | Bronze Butterfly Valve Threaded 2-1/2" 300# | 206.4 | 185.76 | 175.44 | 2 | 96 | 8.3
BUTTERFLY VALVES GROOVED BRONZE 300#
6520291A | Bronze Butterfly Valve Grooved 1-1/4" 300# | 140.56 | 126.5 | 119.48 | 4 | 96 | 4.3
6520292A | Bronze Butterfly Valve Grooved 1-1/2" 300# | 157.06 | 141.35 | 133.5 | 4 | 96 | 4.3
6520294 | Bronze Butterfly Valve Grooved 2" 300# | 182.18 | 163.96 | 154.85 | 4 | 96 | 5.5
6520296 | Bronze Butterfly Valve Grooved 2-1/2" 300# | 206.4 | 185.76 | 175.44 | 2 | 96 | 6.8
WAFER BUTTERFLY VALVES GROOVED 300#
6520256A | Wafer Butterfly Valve 2-1/2" w/ Double Tamper 300# (UL/FM) | 198.4 | 178.56 | 168.64 | 4 | 50 | 20
6520256 | Wafer Butterfly Valve 3" w/ Double Tamper 300# (UL/FM) | 206.15 | 185.54 | 175.23 | 4 | 50 | 20
6520257 | Wafer Butterfly Valve 4" w/ Double Tamper 300# (UL/FM) | 236.13 | 212.52 | 200.71 | 4 | 40 | 21
6520258 | Wafer Butterfly Valve 6" w/ Double Tamper 300# (UL/FM) | 287.05 | 258.35 | 243.99 | 2 | 24 | 30
6520259 | Wafer Butterfly Valve 8" w/ Double Tamper 300# (UL/FM) | 470.95 | 423.86 | 400.31 | 2 | 8 | 31
6520259A | Wafer Butterfly Valve 10" w/ Double Tamper 300# (UL/FM) | 1499.64 | 1349.68 | 1274.69 | 2 | 8 | 88
6520259B | Wafer Butterfly Valve 12" w/ Double Tamper 300# (UL/FM) | 1984.92 | 1786.43 | 1687.18 | 2 | 8 | 125
BUTTERFLY VALVES LUG STYLE 300#
6520269-025 | Butterfly Valve 2-1/2" Fire Protection Type Lug Style 300 psi | 257.76 | 231.98 | 219.1 | 4 | 50 | 20
6520269-030 | Butterfly Valve 3" Fire Protection Type Lug Style 300 psi | 288.42 | 259.58 | 245.16 | 4 | 50 | 20
6520269-040 | Butterfly Valve 4" Fire Protection Type Lug Style 300 psi | 318.24 | 286.42 | 270.5 | 4 | 40 | 21
6520269-060 | Butterfly Valve 6" Fire Protection Type Lug Style 300 psi | 387.69 | 348.92 | 329.54 | 2 | 24 | 30
6520269-080 | Butterfly Valve 8" Fire Protection Type Lug Style 300 psi | 643.32 | 578.99 | 546.82 | 2 | 8 | 31

## Commercial Lever Type Butterfly
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
BUTTERFLY VALVES DUCTILE IRON LEVER TYPE GROOVED 300#
6520220 | Lever Type Butterfly Valve 2" Grooved 300# | 45.76 | 41.18 | 38.9 | 4 | 100 | 5
6520221 | Lever Type Butterfly Valve 2-1/2" Grooved 300# | 58.23 | 52.41 | 49.5 | 4 | 100 | 6.6
6520222 | Lever Type Butterfly Valve 3" Grooved 300# | 63.76 | 57.38 | 54.2 | 4 | 100 | 7.3
6520223 | Lever Type Butterfly Valve 4" Grooved 300# | 86.79 | 78.11 | 73.77 | 4 | 50 | 17.5
6520224 | Lever Type Butterfly Valve 5" Grooved 300# | 116.93 | 105.24 | 99.39 | 4 | 50 | 18.3
6520225 | Lever Type Butterfly Valve 6" Grooved 300# | 161.55 | 145.4 | 137.32 | 2 | 30 | 22
6520226 | Lever Type Butterfly Valve 8" Grooved 300# | 344.78 | 310.3 | 293.06 | 2 | 20 | 33.5
6520227 | Lever Type Butterfly Valve 10" Grooved 300# | 705.6 | 635.04 | 599.76 |  | 10 | 45
BUTTERFLY VALVES DUCTILE IRON LOW PROFILE LEVER TYPE 300#
6520228-020 | Lever Type (Low Profile) Butterfly Valve 2" Grooved 300# | 76.85 | 69.17 | 65.32 | 4 | 200 | 6
6520228-025 | Lever Type (Low Profile) Butterfly Valve 2-1/2" Grooved 300# | 100.47 | 90.42 | 85.4 | 4 | 200 | 7.49
6520228-030 | Lever Type (Low Profile) Butterfly Valve 3" Grooved 300# | 117.81 | 106.03 | 100.14 | 4 | 150 | 9
6520228-040 | Lever Type (Low Profile) Butterfly Valve 4" Grooved 300# | 148.52 | 133.67 | 126.24 | 4 | 100 | 10
6520228-060 | Lever Type (Low Profile) Butterfly Valve 6" Grooved 300# | 209.97 | 188.97 | 178.47 | 2 | 50 | 12
6520228-080 | Lever Type (Low Profile) Butterfly Valve 8" Grooved 300# | 363.57 | 327.21 | 309.03 | 2 | 30 | 13
BUTTERFLY VALVES DUCTILE IRON LEVER TYPE WAFER 300#
6520230 | Butterfly Valve 2" Wafer Lever Type 300PSI | 133.96 | 120.56 | 113.87 | 4 | 100 | 5
6520231 | Butterfly Valve 2-1/2" Wafer Lever Type 300PSI | 159.72 | 143.75 | 135.76 | 4 | 100 | 6.6
6520232 | Butterfly Valve 3" Wafer Lever Type 300PSI | 180.86 | 162.77 | 153.73 | 4 | 100 | 7.3
6520233 | Butterfly Valve 4" Wafer Lever Type 300PSI | 217.95 | 196.16 | 185.26 | 4 | 80 | 17.5
6520234 | Butterfly Valve 5" Wafer Lever Type 300PSI | 241.08 | 216.97 | 204.92 | 4 | 60 | 18.3
6520235 | Butterfly Valve 6" Wafer Lever Type 300PSI | 305.43 | 274.89 | 259.62 | 2 | 40 | 22
6520236 | Butterfly Valve 8" Wafer Lever Type 300PSI | 528.86 | 475.97 | 449.53 | 2 | 30 | 33.5
BUTTERFLY VALVES STAINLESS STEEL LEVER TYPE GROOVED 300#
6520220 | Lever Type Butterfly Valve SS 2" Grooved 300# | PRICED ON REQUEST
6520221 | Lever Type Butterfly Valve SS 2-1/2" Grooved 300#
6520222 | Lever Type Butterfly Valve SS 3" Grooved 300#
6520223 | Lever Type Butterfly Valve SS 4" Grooved 300#
6520224 | Lever Type Butterfly Valve SS 5" Grooved 300#
6520225 | Lever Type Butterfly Valve SS 6" Grooved 300#
6520226 | Lever Type Butterfly Valve SS 8" Grooved 300#
6520227 | Lever Type Butterfly Valve SS 10" Grooved 300#
BUTTERFLY VALVES STAINLESS STEEL LOW PROFILE LEVER TYPE 300#
6520228-020 | Lever Type (Low Profile) Butterfly Valve SS 2" Grooved 300# | PRICED ON REQUEST
6520228-025 | Lever Type (Low Profile) Butterfly Valve SS 2-1/2" Grooved 300#
6520228-030 | Lever Type (Low Profile) Butterfly Valve SS 3" Grooved 300#
6520228-040 | Lever Type (Low Profile) Butterfly Valve SS 4" Grooved 300#
6520228-060 | Lever Type (Low Profile) Butterfly Valve SS 6" Grooved 300#
6520228-080 | Lever Type (Low Profile) Butterfly Valve SS 8" Grooved 300#

## Commercial Check
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight | Weight
GROOVED CHECK VALVE
6520200 | Grooved Check Valve 2" Ductile Iron Red | 70.33 | 63.3 | 59.78 |  | 6 | 216 | 8
6520201 | Grooved Check Valve 2-1/2" Ductile Iron Red | 73.28 | 65.95 | 62.29 |  | 6 | 216 | 8
6520202 | Grooved Check Valve 3" Ductile Iron Red | 100.56 | 90.5 | 85.48 |  | 3 | 90 | 11
6520203 | Grooved Check Valve 4" Ductile Iron Red | 120.56 | 108.5 | 102.48 |  | 2 | 120 | 17
6520203A | Grooved Check Valve 5" Ductile Iron Red | 278.94 | 251.05 | 237.1 |  |  | 36 | 22
6520204 | Grooved Check Valve 6" Ductile Iron Red | 235.25 | 211.73 | 199.96 |  |  | 36 | 38
6520205 | Grooved Check Valve 8" Ductile Iron Red | 347.86 | 313.07 | 295.68 |  |  | 36 | 66
6520206 | Grooved Check Valve 10" Ductile Iron Red | 681.96 | 613.76 | 579.67 |  |  | 6 | 115
6520207 | Grooved Check Valve 12" Ductile Iron Red | 1362.03 | 1225.83 | 1157.73 |  |  | 5 | 166
FLANGED CHECK VALVE
6520211A | Flanged Check Valve 2" | 250.25 | 225.23 | 212.71 |  | 4 |  | 25
6520211 | Flanged Check Valve 2-1/2" | 311.96 | 280.76 | 265.17 |  | 4 |  | 100
6520212 | Flanged Check Valve 3" | 431.9 | 388.71 | 367.12 |  | 4 |  | 100
6520213 | Flanged Check Valve 4" | 586.18 | 527.56 | 498.25 |  | 4 |  | 100
6520214 | Flanged Check Valve 6" | 1072.93 | 965.64 | 911.99 |  | 4 |  | 140
6520215 | Flanged Check Valve 8" | 1892.21 | 1702.99 | 1608.38 |  | 2 |  | 100
6520216 | Flanged Check Valve 10" | 2749.18 | 2474.26 | 2336.8 |  | 2 |  | 375
6520217 | Flanged Check Valve 12" | 3832.4 | 3449.16 | 3257.54 |  |  |  | 100
RISER CHECK VALVE G X G
6520310 | Riser Check Valve 2" (shotgun) GxG | 88.99 | 80.09 | 75.64 |  | 4 |  | 7.94
6520311 | Riser Check Valve 2-1/2" (shotgun) GxG | 90.88 | 81.79 | 77.25 |  | 4 |  | 8.16
6520312 | Riser Check Valve 3" (shotgun) GxG | 109.32 | 98.39 | 92.92 |  | 4 |  | 10.37
6520313 | Riser Check Valve 4" (shotgun) GxG | 131.78 | 118.6 | 112.01 |  | 2 |  | 16.98
6520314 | Riser Check Valve 6" (shotgun) GxG | 255.73 | 230.16 | 217.37 |  | 2 |  | 42.35
6520314A | Riser Check Valve 8" (shotgun) GxG | 378.09 | 340.28 | 321.38 |  | 2 |  | 66.14
TRIM FOR RISER CHECK VALVE
6520315 | Trim for 2" Riser Check Valve (shotgun) | 70.73 | 63.66 | 60.12 |  |  |  | 4.24
6520316 | Trim for 2-1/2", 65MM, & 3" Riser Check Valve (shotgun) | 81.55 | 73.4 | 69.32 |  |  |  | 4.6
6520317 | Trim for 4" Riser Check Valve (shotgun) | 121.59 | 109.43 | 103.35 |  |  |  | 7.96
6520318 | Trim for 6", 8" & 150MM Riser Check Valve (shotgun) | 125.53 | 112.98 | 106.7 |  |  |  | 7.3
WAFER CHECK VALVES
6520285A | Wafer Check Valves Double Door C.I. Body 2-1/2" (UL/FM) | 128.49 | 115.64 | 109.22 |  | 4 | 150 | 5.5
6520285B | Wafer Check Valves Double Door C.I. Body 3" (UL/FM) | 151.86 | 136.67 | 129.08 |  | 4 | 100 | 6.3
6520285 | Wafer Check Valves Double Door C.I. Body 4" (UL/FM) | 233.64 | 210.28 | 198.59 |  | 2 | 100 | 10.8
6520286 | Wafer Check Valves Double Door C.I. Body 6" (UL/FM) | 478.95 | 431.06 | 407.11 |  | 2 | 50 | 23.4
6520287 | Wafer Check Valves Double Door C.I. Body 8" (UL/FM) | 794.37 | 714.93 | 675.21 |  | 2 | 50 | 41.4
6520288 | Wafer Check Valves Double Door C.I. Body 10" (UL/FM) | 1325.91 | 1193.32 | 1127.02 |  |  | 25 | 69.5
6520289 | Wafer Check Valves Double Door C.I. Body 12" (UL/FM) | 2351.02 | 2115.92 | 1998.37 |  |  | 20 | 112.3
6520289A | Wafer Check Valves Double Door C.I. Body 14" (UL/FM) | 3407.25 | 3066.53 | 2896.16 |  |  | 20 | 151.3

## OS&Y Gate
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
OUTSIDE SCREW & YOLK VALVES
OS&Y VALVE DUCTILE IRON FLANGED
6520260 | OS&Y Gate Valve D.I. Body-Flanged 2-1/2" | 285.71 | 257.14 | 242.85 | 4 | 25 | 52
6520261 | OS&Y Gate Valve D.I. Body-Flanged 3" (UL/FM) | 307.82 | 277.04 | 261.65 | 2 | 16 | 61
6520262 | OS&Y Gate Valve D.I. Body-Flanged 4" (UL/FM) | 363.77 | 327.39 | 309.2 | 2 | 16 | 85
6520263 | OS&Y Gate Valve D.I. Body-Flanged 6" (UL/FM) | 599.21 | 539.29 | 509.33 | 2 | 9 | 151
6520264 | OS&Y Gate Valve D.I. Body-Flanged 8" (UL/FM) | 913.62 | 822.26 | 776.58 | 2 | 4 | 253
6520265 | OS&Y Gate Valve D.I. Body-Flanged 10" (UL/FM) | 1305.17 | 1174.65 | 1109.39 | 2 | 4 | 326
6520266 | OS&Y Gate Valve D.I. Body-Flanged 12" (UL/FM) | 3622.39 | 3260.15 | 3079.03 | 2 | 4 | 469
6520267 | OS&Y Gate Valve D.I. Body-Flanged 14" (UL/FM) | 5835.15 | 5251.64 | 4959.88 |  | 2 | 757
6520268 | OS&Y Gate Valve D.I. Body-Flanged 16" (UL/FM) | 8557.08 | 7701.37 | 7273.52 |  | 2 | 785
6520268-18 | OS&Y Gate Valve D.I. Body-Flanged 18" (UL/FM) | 15718.14 | 14146.33 | 13360.42 |  | 2 | 1170
6520268-20 | OS&Y Gate Valve D.I. Body-Flanged 20" (UL/FM) | 18994.92 | 17095.43 | 16145.68 |  | 2 | 1247
6520268-24 | OS&Y Gate Valve D.I. Body-Flanged 24" (UL/FM) | 24272.28 | 21845.05 | 20631.44 |  | 2 | 1727
OS&Y VALVE DUCTILE IRON FLANGED w/ NBG KITS
6520260NBG | OS&Y Gate Valve D.I. Body Flanged 2-1/2" w/ two NBG kits | 309.89 | 278.9 | 263.41 | 4 | 25 | 62
6520261NBG | OS&Y Gate Valve D.I. Body Flanged 3" w/ two NBG kits | 332.27 | 299.04 | 282.43 | 2 | 16 | 71
6520262NBG | OS&Y Gate Valve D.I. Body Flanged 4" w/ two NBG kits | 400.11 | 360.1 | 340.09 | 2 | 16 | 99
6520263NBG | OS&Y Gate Valve D.I. Body Flanged 6" w/ two NBG kits | 650.32 | 585.29 | 552.77 | 2 | 9 | 168
6520264NBG | OS&Y Gate Valve D.I. Body Flanged 8" w/ two NBG kits | 974.89 | 877.4 | 828.66 | 2 | 4 | 271
6520265NBG | OS&Y Gate Valve D.I. Body Flanged 10" w/ two NBG kits | 1416.58 | 1274.92 | 1204.09 | 2 | 4 | 358
6520266NBG | OS&Y Gate Valve D.I. Body Flanged 12" w/ two NBG kits | 3752.21 | 3376.99 | 3189.38 | 2 | 4 | 502
OS&Y VALVE DUCTILE IRON FLANGED w/ NBG KITS & TAMPER SWITCH
6520260NBGT | OS&Y Gate Valve D.I. Body Flanged 2-1/2" w/ two NBG kits, Tamper Switch | 499.69 | 449.72 | 424.74 | 4 | 25 | 64
6520261NBGT | OS&Y Gate Valve D.I. Body Flanged 3" w/ two NBG kits, Tamper Switch | 522.06 | 469.85 | 443.75 | 2 | 16 | 74
6520262NBGT | OS&Y Gate Valve D.I. Body Flanged 4" w/ two NBG kits, Tamper Switch | 589.91 | 530.92 | 501.42 | 2 | 16 | 102
6520263NBGT | OS&Y Gate Valve D.I. Body Flanged 6" w/ two NBG kits, Tamper Switch | 840.09 | 756.08 | 714.08 | 2 | 9 | 171
6520264NBGT | OS&Y Gate Valve D.I. Body Flanged 8" w/ two NBG kits, Tamper Switch | 1164.68 | 1048.21 | 989.98 | 2 | 4 | 273
6520265NBGT | OS&Y Gate Valve D.I. Body Flanged 10" w/ two NBG kits, Tamper Switch | 1606.37 | 1445.73 | 1365.41 | 2 | 4 | 361
6520266NBGT | OS&Y Gate Valve D.I. Body Flanged 12" w/ two NBG kits, Tamper Switch | 3941.98 | 3547.78 | 3350.68 | 2 | 4 | 505
OS&Y VALVE DUCTILE IRON GROOVED
6520260-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 2-1/2" (UL/FM) | 220.38 | 198.34 | 187.32 | 4 | 36 | 40
6520261-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 3" (UL/FM) | 279.13 | 251.22 | 237.26 | 2 | 36 | 75
6520262-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 4" (UL/FM) | 363.84 | 327.46 | 309.26 | 2 | 16 | 82
6520263-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 6" (UL/FM) | 575.28 | 517.75 | 488.99 | 2 | 9 | 128
6520264-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 8" (UL/FM) | 976.69 | 879.02 | 830.19 | 2 | 9 | 268
6520265-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 10" (UL/FM) | 1797.2 | 1617.48 | 1527.62 | 2 | 4 | 326
OS&Y VALVE DUCTILE IRON GROOVED x FLANGED
6520266C-025 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 2-1/2" | 473.13 | 425.82 | 402.16 | 4 |  | 46
6520266C-030 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 3" | 554.14 | 498.73 | 471.02 | 2 |  | 68
6520266C-040 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 4" | 666.16 | 599.54 | 566.24 |  |  | 84
6520266C-060 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 6" | 1089.51 | 980.56 | 926.08 |  |  | 140
6520266C-080 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 8" | 1768.12 | 1591.31 | 1502.9 |  |  | 261
6520266C-100 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 10" | 2633.49 | 2370.14 | 2238.47 |  |  | 326
6520266C-120 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 12" | 4165.08 | 3748.57 | 3540.32 |  |  | 469
OS&Y VALVE BRONZE
6520267-0100 | Fire Protection OS&Y Valve Bronze 1" IPS Thread | 267.85 | 241.07 | 227.67 | 4 |  | 5
6520267-0125 | Fire Protection OS&Y Valve Bronze 1-1/4" IPS Thread | 339.64 | 305.68 | 288.69 | 4 |  | 8
6520267-0150 | Fire Protection OS&Y Valve Bronze 1-1/2" IPS Thread | 421.98 | 379.78 | 358.68 | 4 |  | 8
6520267-0200 | Fire Protection OS&Y Valve Bronze 2" IPS Thread | 506.4 | 455.76 | 430.44 | 4 |  | 11

## NRS Gate
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
NON-RISING STEM VALVES
PIV NRS GATE VALVE DUCTILE FLANGE
6520270A | PIV NRS Gate Valve D.I. Body-Flanged 2-1/2" 300 psi (UL/FM) | 237.01 | 213.31 | 201.46 | 4 | 16 | 20
6520270B | PIV NRS Gate Valve D.I. Body-Flanged 3" 300 psi (UL/FM) | 282.26 | 254.03 | 239.92 | 4 | 16 | 41
6520270 | PIV NRS Gate Valve D.I. Body-Flanged 4" 300 psi (UL/FM) | 471.88 | 424.69 | 401.1 | 2 | 9 | 110
6520271 | PIV NRS Gate Valve D.I. Body-Flanged 6" 300 psi (UL/FM) | 723.98 | 651.58 | 615.38 | 2 | 9 | 112
6520272 | PIV NRS Gate Valve D.I. Body-Flanged 8" 300 psi (UL/FM) | 1131.22 | 1018.1 | 961.54 | 2 | 9 | 259
6520273 | PIV NRS Gate Valve D.I. Body-Flanged 10" 300 psi (UL/FM) | 2053.8 | 1848.42 | 1745.73 | 2 |  | 300
6520274 | PIV NRS Gate Valve D.I. Body-Flanged 12" 300 psi (UL/FM) | 3123.3 | 2810.97 | 2654.81 | 4 |  | 339
PIV NRS GATE VALVE DUCTILE GROOVE
6520284-025 | PIV NRS Gate Valve D.I. Body GxG 2-1/2" 300 psi (UL/FM) | 329.07 | 296.16 | 279.71 | 4 | 9 | 47
6520284-030 | PIV NRS Gate Valve D.I. Body GxG 3" 300 psi (UL/FM) | 404.5 | 364.05 | 343.83 | 4 | 9 | 100
6520284-040 | PIV NRS Gate Valve D.I. Body GxG 4" 300 psi (UL/FM) | 507.33 | 456.6 | 431.23 | 2 | 16 | 85.98
6520284-060 | PIV NRS Gate Valve D.I. Body GxG 6" 300 psi (UL/FM) | 822.71 | 740.44 | 699.3 | 2 | 9 | 123.46
6520284-080 | PIV NRS Gate Valve D.I. Body GxG 8" 300 psi (UL/FM) | 1480.85 | 1332.77 | 1258.72 | 2 | 6 | 198.42
6520284-100 | PIV NRS Gate Valve D.I. Body GxG 10" 300 psi (UL/FM) | 2145.85 | 1931.27 | 1823.97 | 2 | 4 | 286.6
6520284-120 | PIV NRS Gate Valve D.I. Body GxG 12" 300 psi (UL/FM) | 3078.25 | 2770.43 | 2616.51 | 2 | 2 | 379.19
PIV NRS GATE VALVE DUCTILE MECHANICAL JOINT
6520275 | PIV NRS Gate Valve D.I. Body MJxMJ 4" 300 psi (UL/FM) | 630.84 | 567.76 | 536.21 | 2 | 9 | 110
6520276 | PIV NRS Gate Valve D.I. Body MJxMJ 6" 300 psi (UL/FM) | 1063.08 | 956.77 | 903.62 | 2 | 9 | 112
6520277 | PIV NRS Gate Valve D.I. Body MJxMJ 8" 300 psi (UL/FM) | 1674.44 | 1507 | 1423.27 | 2 | 9 | 259
6520278 | PIV NRS Gate Valve D.I. Body MJxMJ 10" 300 psi (UL/FM) | 2313.04 | 2081.74 | 1966.08 | 2 |  | 300
6520279 | PIV NRS Gate Valve D.I. Body MJxMJ 12" 300 psi (UL/FM) | 3730.44 | 3357.4 | 3170.87 | 4 |  | 339
POST INDICATOR
6520280 | FP Upright Post Indicator (UL/FM) | 1230.53 | 1107.48 | 1045.95 |  | 2 | 20
6520281 | FP Wall Post Indicator w/ Shaft (UL/FM) | 630.61 | 567.55 | 536.02 |  | 2 | 25
CONTRACTOR
3099112 | Wrench P.I.V. Universal | 179.74 |  |  |  | 14

## Flange Bolt & Gasket Kits
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
FLANGE GASKET & BOLT PACKS
RED RUBBER RING GASKET & BOLT PACKS
2515050K | Boltpack 150# Red Rubber Ring 2" x 1/8" | 9.28 | 8.35 | 7.89 | 12 |  | 4.62
2515051K | Boltpack 150# Red Rubber Ring 2-1/2" x 1/8" | 10.15 | 9.14 | 8.63 | 12 |  | 1.8
2515052K | Boltpack 150# Red Rubber Ring 3" x 1/8" | 10.58 | 9.52 | 8.99 | 12 |  | 4.66
2515054K | Boltpack 150# Red Rubber Ring 4" x 1/8" | 16.8 | 15.12 | 14.28 | 12 |  | 3.3
2515055K | Boltpack 150# Red Rubber Ring 5" x 1/8" | 23.28 | 20.95 | 19.79 | 12 |  | 8.26
2515056K | Boltpack 150# Red Rubber Ring 6" x 1/8" | 24.8 | 22.32 | 21.08 | 12 |  | 5.5
2515057K | Boltpack 150# Red Rubber Ring 8" x 1/8" boxed | 29.03 | 26.13 | 24.68 | 12 |  | 8.3
2515058K | Boltpack 150# Red Rubber Ring 10" x 1/8" boxed | 57.53 | 51.78 | 48.9 | 4 |  | 16.13
2515059K | Boltpack 150# Red Rubber Ring 12" x 1/8" boxed | 65.33 | 58.8 | 55.53 | 4 |  | 13.25
RED RUBBER FULL FACE GASKET & BOLT PACKS
2515150K | Boltpack 150# Red Rubber Full Face 2" x 1/8" | 12.1 | 10.89 | 10.29 | 12 |  | 4.96
2515151K | Boltpack 150# Red Rubber Full Face 2-1/2" x 1/8" | 14.25 | 12.83 | 12.11 | 12 |  | 5.06
2515152K | Boltpack 150# Red Rubber Full Face 3" x 1/8" | 14.43 | 12.99 | 12.27 | 12 |  | 5.06
2515154K | Boltpack 150# Red Rubber Full Face 4" x 1/8" | 21.43 | 19.29 | 18.22 | 12 |  | 6.52
2515155K | Boltpack 150# Red Rubber Full Face 5" x 1/8" | 28.33 | 25.5 | 24.08 | 12 |  | 8.6
2515156K | Boltpack 150# Red Rubber Full Face 6" x 1/8" | 30.15 | 27.14 | 25.63 | 12 |  | 5.5
2515157K | Boltpack 150# Red Rubber Full Face 8" x 1/8" | 36.15 | 32.54 | 30.73 | 12 |  | 8.6
2515158K | Boltpack 150# Red Rubber Full Face 10" x 1/8" | 65.75 | 59.18 | 55.89 | 4 |  | 16.43
2515159K | Boltpack 150# Red Rubber Full Face 12" x 1/8" | 76.58 | 68.92 | 65.09 | 4 |  | 16.43
NON ASBESTOS RING GASKET & BOLT PACKS
2599050K | Boltpack 150# Non Asbestos Ring 2" & 1/16" | 8.85 | 7.97 | 7.52 | 12 |  | 4.76
2599051K | Boltpack 150# Non Asbestos Ring 2-1/2" & 1/16" | 9.65 | 8.69 | 8.2 | 12 |  | 4.76
2599052K | Boltpack 150# Non Asbestos Ring 3" & 1/16" | 9.93 | 8.94 | 8.44 | 12 |  | 4.76
2599054K | Boltpack 150# Non Asbestos Ring 4" X 1/16" | 15.63 | 14.07 | 13.29 | 12 |  | 6.22
2599055K | Boltpack 150# Non Asbestos Ring 5" X 1/16" | 21.9 | 19.71 | 18.62 | 12 |  | 8.3
2599056K | Boltpack 150# Non Asbestos Ring 6" X 1/16" | 23.05 | 20.75 | 19.59 | 12 |  | 8.3
2599057K | Boltpack 150# Non Asbestos Ring 8" X 1/16" | 26.4 | 23.76 | 22.44 | 12 |  | 8.3
2599058K | Boltpack 150# Non Asbestos Ring 10" X 1/16" | 53.55 | 48.2 | 45.52 | 4 |  | 15.83
2599059K | Boltpack 150# Non Asbestos Ring 12" X 1/16" | 59.6 | 53.64 | 50.66 | 4 |  | 15.85
NON ASBESTOS FULL FACE GASKET & BOLT PACKS
2599110K | Boltpack 150# Non Asbestos Full Face 2" X 1/16" | 11.38 | 10.24 | 9.67 | 12 |  | 4.56
2599111K | Boltpack 150# Non Asbestos Full Face 2-1/2"X 1/16" | 13.15 | 11.84 | 11.18 | 12 |  | 4.56
2599112K | Boltpack 150# Non Asbestos Full Face 3"X1/16" | 13.38 | 12.04 | 11.37 | 12 |  | 4.56
2599114K | Boltpack 150# Non Asbestos Full Face 4" X 1/16" | 19.6 | 17.64 | 16.66 | 12 |  | 6.02
2599115K | Boltpack 150# Non Asbestos Full Face 5"X1/16" | 26.5 | 23.85 | 22.53 | 12 |  | 8.6
2599116K | Boltpack 150# Non Asbestos Full Face 6" X 1/16" | 27.88 | 25.09 | 23.7 | 12 |  | 8.1
2599117K | Boltpack 150# Non Asbestos Full Face 8" X 1/16" | 32.8 | 29.52 | 27.88 | 12 |  | 8.1
2599118K | Boltpack 150# Non Asbestos Full Face 10" X 1/16" | 61.15 | 55.04 | 51.98 | 4 |  | 15.63
2599119K | Boltpack 150# Non Asbestos Full Face 12" X 1/16" | 71.85 | 64.67 | 61.07 | 4 |  | 15.63

## Ball Valves
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
BRASS BALL VALVES NPT 400#
6520422 | Ball Valve 400# 1/2" NPT Thread Standard Port (UL) | 6.6 | 5.94 | 5.61 | 120 | 5760 | 0.38
6520423 | Ball Valve 400# 3/4" NPT Thread Standard Port (UL) | 9.66 | 8.69 | 8.21 | 90 | 4320 | 0.55
6520424 | Ball Valve 400# 1" NPT Thread Standard Port (UL) | 13.9 | 12.51 | 11.82 | 48 | 2304 | 0.92
6520425 | Ball Valve 400# 1-1/4" NPT Thread Standard Port (UL) | 22.44 | 20.2 | 19.07 | 36 | 1728 | 1.33
6520426 | Ball Valve 400# 1-1/2" NPT Thread Standard Port (UL) | 31.55 | 28.4 | 26.82 | 24 | 1152 | 2.25
6520427 | Ball Valve 400# 2" NPT Thread Standard Port (UL) | 43.98 | 39.58 | 37.38 | 12 | 576 | 4.2
BRASS BALL VALVES 600#
6520401UL | Ball Valve 600# 3/8" NPT Thread Full Port (UL/CGA) | 6.93 | 6.24 | 5.89 | 120 | 5760 | 0.33
6520400UL | Ball Valve 600# 1/4" NPT Thread Full Port (UL/CGA) | 6.93 | 6.24 | 5.89 | 120 | 5760 | 0.33
6520402UL | Ball Valve 600# 1/2" NPT Thread Full Port (UL/CGA) | 7.15 | 6.44 | 6.08 | 100 | 4800 | 0.49
6520403UL | Ball Valve 600# 3/4" NPT Thread Full Port (UL/CGA) | 11.99 | 10.79 | 10.19 | 60 | 2880 | 0.8
6520404UL | Ball Valve 600# 1" NPT Thread Full Port (UL/CGA) | 17.64 | 15.88 | 14.99 | 36 | 1728 | 1.1
6520405UL | Ball Valve 600# 1-1/4" NPT Thread Full Port (UL/CGA) | 29.83 | 26.85 | 25.36 | 24 | 1152 | 1.83
6520406UL | Ball Valve 600# 1-1/2" NPT Thread Full Port (UL/CGA) | 39.42 | 35.48 | 33.51 | 16 | 768 | 2.5
6520407UL | Ball Valve 600# 2" NPT Thread Full Port (UL/CGA) | 63.12 | 56.81 | 53.65 | 8 | 384 | 4.2
6520408UL | Ball Valve 600# 2-1/2" NPT Thread Full Port (UL/CGA) | 179.81 | 161.83 | 152.84 | 4 | 192 | 7
6520409UL | Ball Valve 600# 3" NPT Thread Full Port (UL/CGA) | 272.6 | 245.34 | 231.71 | 4 | 192 | 11.67
6520410UL | Ball Valve 600# 4" NPT Thread Full Port (UL/CGA) | 404.36 | 363.92 | 343.71 | 2 | 96 | 19.25
BRASS BALL VALVES NPT 600# LEAD FREE
6520690-050 | Ball Valve Lead Free 600# 1/2" NPT Thread Full Port (UL/CSA) | 8.16 | 7.34 | 6.94 | 100 | 4800 | 0.49
6520690-075 | Ball Valve Lead Free 600# 3/4" NPT Thread Full Port (UL/CSA) | 13.68 | 12.31 | 11.63 | 60 | 2880 | 0.8
6520690-100 | Ball Valve Lead Free 600# 1" NPT Thread Full Port (UL/CSA) | 20.86 | 18.77 | 17.73 | 36 | 1728 | 1.1
6520690-125 | Ball Valve Lead Free 600# 1-1/4" NPT Thread Full Port (UL/CSA) | 34.21 | 30.79 | 29.08 | 24 | 1152 | 1.83
6520690-150 | Ball Valve Lead Free 600# 1-1/2" NPT Thread Full Port (UL/CSA) | 45.06 | 40.55 | 38.3 | 16 | 768 | 2.5
6520690-200 | Ball Valve Lead Free 600# 2" NPT Thread Full Port (UL/CSA) | 74.98 | 67.48 | 63.73 | 8 | 384 | 4.2
6520690-250 | Ball Valve Lead Free 600# 2-1/2" NPT Thread Full Port (UL/CSA) | 213.58 | 192.22 | 181.54 | 4 | 192 | 7
6520690-300 | Ball Valve Lead Free 600# 3" NPT Thread Full Port (UL/CSA) | 323.86 | 291.47 | 275.28 | 4 | 192 | 11.67
6520690-400 | Ball Valve Lead Free 600# 4" NPT Thread Full Port (UL/CSA) | 480.28 | 432.25 | 408.24 | 2 | 96 | 19.25

## FS Trim Valves
Item Number | Name | Base Price | 10% Off | 15% Off | Case Quantity | Pallet Quantity | Weight
TRIM VALVES
BRASS INLINE CHECK VALVE
6520140 | Inline Check Valve 1" NPT Thread 200 psi | 15.07 | 13.56 | 12.81 | 60 | 4800 | 0.88
6520145 | Inline Check Valve 1-1/4" NPT Thread 200 psi | 22.81 | 20.53 | 19.39 | 40 | 4800 | 1.5
6520150 | Inline Check Valve 1-1/2" NPT Thread 200 psi | 28.31 | 25.48 | 24.06 | 30 | 2880 | 1.77
6520151 | Inline Check Valve 2" NPT Thread 200 psi | 50.95 | 45.86 | 43.31 | 20 | 480 | 3.44
BRASS SWING CHECK VALVE
6520105A | Check Valve 1/2" NPT Thread w/ Rubber Seat | 10.58 | 9.52 | 8.99 | 150 | 3600 | 0.38
6520110A | Check Valve 3/4" NPT Thread w/ Rubber Seat | 13.11 | 11.8 | 11.14 | 90 | 2160 | 0.7
6520115A | Check Valve 1" NPT Thread w/ Rubber Seat | 16.61 | 14.95 | 14.12 | 60 | 1440 | 1.217
6520120A | Check Valve 1-1/4" NPT Thread w/ Rubber Seat | 27.54 | 24.79 | 23.41 | 40 | 960 | 1.4
6520125A | Check Valve 1-1/2" NPT Thread w/ Rubber Seat | 35 | 31.5 | 29.75 | 30 | 720 | 2.33
6520130A | Check Valve 2" NPT Thread w/ Rubber Seat | 52.34 | 47.11 | 44.49 | 12 | 288 | 3.83
BRASS GLOBE VALVE
6520044 | Globe Valve 1/4" NPT Thread 200# w/ Rubber Seat | 20.75 | 18.68 | 17.64 | 100 |  | 0.35
6520045A | Globe Valve 1/2" NPT Thread 200# w/ Rubber Seat | 11.68 | 10.51 | 9.93 | 100 | 2400 | 0.68
6520050A | Globe Valve 3/4" NPT Thread 200# w/ Rubber Seat | 14.19 | 12.77 | 12.06 | 60 | 1440 | 0.93
6520055A | Globe Valve 1" NPT Thread 200# w/ Rubber Seat | 20 | 18 | 17 | 50 | 960 | 1.18
6520060A | Globe Valve 1-1/4" NPT Thread 200# w/ Rubber Seat | 31.66 | 28.49 | 26.91 | 30 | 720 | 2.43
6520065A | Globe Valve 1-1/2" NPT Thread 200# w/ Rubber Seat | 40.22 | 36.2 | 34.19 | 20 | 480 | 3.25
6520070A | Globe Valve 2" NPT Thread 200# w/ Rubber Seat | 61.78 | 55.6 | 52.51 | 12 | 384 | 5
BRASS ANGLE GLOBE VALVE
6520080 | Angle Globe Valve 3/4" NPT Thread 200# w/ Rubber Seat | 17.62 | 15.86 | 14.98 | 60 | 2400 | 0.9
6520085 | Angle Globe Valve 1" NPT Thread 200# w/ Rubber Seat | 27.76 | 24.98 | 23.6 | 40 | 960 | 1.83
6520090 | Angle Globe Valve 1-1/4" NPT Thread 200# w/ Rubber Seat | 38.28 | 34.45 | 32.54 | 20 | 480 | 2.1
6520095 | Angle Globe Valve 1-1/2" NPT Thread 200# w/ Rubber Seat | 52.29 | 47.06 | 44.45 | 16 | 384 | 3.19
6520100 | Angle Globe Valve 2" NPT Thread 200# w/ Rubber Seat | 77.62 | 69.86 | 65.98 | 10 | 240 | 5.3
BRASS GATE VALVE
6520503 | Brass Gate Valve 3/4" NPT Thread 200# | 10.6 | 9.54 | 9.01 | 100 | 2400 | 0.79
6520504 | Brass Gate Valve 1" NPT Thread 200# | 14.43 | 12.99 | 12.27 | 50 | 1200 | 1.06
6520505 | Brass Gate Valve 1-1/4" NPT Thread 200# | 21.67 | 19.5 | 18.42 | 32 | 768 | 1.54
6520506 | Brass Gate Valve 1-1/2" NPT Thread 200# | 27.08 | 24.37 | 23.02 | 32 | 768 | 1.9
6520507 | Brass Gate Valve 2" NPT Thread 200# | 41.29 | 37.16 | 35.1 | 20 | 480 | 3.1
6520508 | Brass Gate Valve 2-1/2" NPT Thread 200# | 246.44 | 221.8 | 209.47 | 10 |  | 5.3
6520509 | Brass Gate Valve 3" NPT Thread 200# | 119.06 | 107.15 | 101.2 | 6 |  | 8.5
6520510 | Brass Gate Valve 4" NPT Thread 200# | 465.52 | 418.97 | 395.69 | 4 |  | 12.75
BRASS SIGHT GLASS
6520185 | Sight Glass 1" F x M NPT Thread w/ 1/2" Restricted Orifice | 25.96 | 23.36 | 22.07 | 40 |  | 1.75
6520187 | Sight Glass 1" F x M w/o Restricted Orifice | 25.96 | 23.36 | 22.07 | 40 |  | 1.65
6520186 | Sight Glass 1-1/4" F x M w/o Restricted Orifice | 25.96 | 23.36 | 22.07 | 40 |  | 1.6
THREE-WAY VALVE
6520190 | 3 Way Gauge Valve 1/4" | 7.26 | 6.53 | 6.17 | 144 | 3600 | 0.45
BRASS BALL DRIP VALVE
6520180 | Ball Drip Valve 1/2" x 1/2" NPT Thread | 8.95 | 8.06 | 7.61 | 100 | 3600 | 0.41
6520179 | Ball Drip Valve 3/4" x 3/4" NPT Thread | 16.83 | 15.15 | 14.31 | 240 |  | 0.7
BRASS PRESSURE RELIEF VALVE
6520160 | Pressure Relief Valve 1/2" x 1/2" Adjust. 50-200 psi | 20.5 | 18.45 | 17.43 | 120 |  | 0.51
6520161 | Pressure Relief Valve 1/2" x 1/2" Pre-set 175 psi | 11.18 | 10.06 | 9.5 | 150 |  | 0.51
6520161 | Pressure Relief Valve 1/2" x 1/2" Pre-set 175 psi | 11.18 | 10.06 | 9.5 | 150 |  | 0.51
BRASS BOILER DRAIN
6520942 | Boiler Drain 1/2" CxC/MIP x 3/4" Hose Straight | 8.43 | 7.59 | 7.17 | 100 | 2400 | 0.44
6520941 | Boiler Drain 3/4" MIP x 3/4" 45° Hose | 9.61 | 8.65 | 8.17 | 100 | 2400 | 0.49
BRASS HOSE BIBB
6520936 | Hose Bibb 1/2" MIP x 3/4" Hose 1/4 Turn Ball | 8.73 | 7.86 | 7.42 | 100 | 2400 | 0.42
6520937 | Hose Bibb 3/4" MIP x 3/4" Hose 1/4 Turn Ball | 11.24 | 10.12 | 9.55 | 100 | 2400 | 0.44
6520175 | Union 1/2" x 3/32" Orifice Brass | 10.49 | 9.44 | 8.92 | 160 |  | 0.4
DRUM DRIP ASSEMBLIES
6520381T | Drum Drip Assembly Threaded Connections Black (Auxiliary Drain, Low Point Drain) | 102.6 | 92.34 | 87.21 | 6 |  | 9.02
6520380T | Drum Drip Assembly Threaded Connections Galvanized (Auxiliary Drain, Low Point Drain) | 104.03 | 93.63 | 88.43 | 6 |  | 8.83
TEST & DRAIN VALVES
6520181 | Test & Drain Valve 1" 5.6K (UL/FM) | 79.38 | 71.44 | 67.47 | 6 | 384 | 2.5
6520182-150 | Test & Drain Valve 1-1/2" 5.6K (UL/FM) | 157.3 | 141.57 | 133.71 | 6 | 288 | 8.05
6520182 | Test & Drain Valve 1-1/4" 5.6K (UL/FM) | 81.09 | 72.98 | 68.93 | 6 | 384 | 2.5
6520182-200 | Test & Drain Valve 2" 5.6K (UL/FM) | 162.95 | 146.66 | 138.51 | 4 | 96 | 6.65
6520181-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1" | 37.82 | 34.04 | 32.15 | 6 |  | 3.5
6520182-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/4" | 54.87 | 49.38 | 46.64 | 6 |  | 3.5
6520182-150-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/2" | 53.7 | 48.33 | 45.65 | 6 |  | 6
6520182-200-PRVKIT | Pressure Relief Kit for Test & Drain Valve 2" | 72.58 | 65.32 | 61.69 | 6 |  | 7.5
6520181-PRV | Test & Drain Valve 1" w/ Pressure Relief (UL/FM) | 122.5 | 110.25 | 104.13 | 6 |  | 3.5
6520182-PRV | Test & Drain Valve 1-1/4" w/ Pressure Relief (UL/FM) | 135.96 | 122.36 | 115.57 | 6 |  | 6
6520182-150-PRV | Test & Drain Valve 1-1/2" w/ Pressure Relief (UL/FM) | 218.53 | 196.68 | 185.75 | 6 |  | 6
6520182-200-PRV | Test & Drain Valve 2" w/ Pressure Relief (UL/FM) | 245.67 | 221.1 | 208.82 | 6 |  | 11.25
BRASS BALL VALVES NPT 400#
6520422 | Ball Valve 400# 1/2" NPT Thread Standard Port (UL) | 6.6 | 5.94 | 5.61 | 120 | 5760 | 0.38
6520423 | Ball Valve 400# 3/4" NPT Thread Standard Port (UL) | 9.66 | 8.69 | 8.21 | 90 | 4320 | 0.55
6520424 | Ball Valve 400# 1" NPT Thread Standard Port (UL) | 13.9 | 12.51 | 11.82 | 48 | 2304 | 0.92
6520425 | Ball Valve 400# 1-1/4" NPT Thread Standard Port (UL) | 22.44 | 20.2 | 19.07 | 36 | 1728 | 1.33
6520426 | Ball Valve 400# 1-1/2" NPT Thread Standard Port (UL) | 31.55 | 28.4 | 26.82 | 24 | 1152 | 2.25
6520427 | Ball Valve 400# 2" NPT Thread Standard Port (UL) | 43.98 | 39.58 | 37.38 | 12 | 576 | 4.2
BRASS BALL VALVES 600#
6520401UL | Ball Valve 600# 3/8" NPT Thread Full Port (UL/CGA) | 6.93 | 6.24 | 5.89 | 120 | 5760 | 0.33
6520400UL | Ball Valve 600# 1/4" NPT Thread Full Port (UL/CGA) | 6.93 | 6.24 | 5.89 | 120 | 5760 | 0.33
6520402UL | Ball Valve 600# 1/2" NPT Thread Full Port (UL/CGA) | 7.15 | 6.44 | 6.08 | 100 | 4800 | 0.49
6520403UL | Ball Valve 600# 3/4" NPT Thread Full Port (UL/CGA) | 11.99 | 10.79 | 10.19 | 60 | 2880 | 0.8
6520404UL | Ball Valve 600# 1" NPT Thread Full Port (UL/CGA) | 17.64 | 15.88 | 14.99 | 36 | 1728 | 1.1
6520405UL | Ball Valve 600# 1-1/4" NPT Thread Full Port (UL/CGA) | 29.83 | 26.85 | 25.36 | 24 | 1152 | 1.83
6520406UL | Ball Valve 600# 1-1/2" NPT Thread Full Port (UL/CGA) | 39.42 | 35.48 | 33.51 | 16 | 768 | 2.5
6520407UL | Ball Valve 600# 2" NPT Thread Full Port (UL/CGA) | 63.12 | 56.81 | 53.65 | 8 | 384 | 4.2
6520408UL | Ball Valve 600# 2-1/2" NPT Thread Full Port (UL/CGA) | 179.81 | 161.83 | 152.84 | 4 | 192 | 7
6520409UL | Ball Valve 600# 3" NPT Thread Full Port (UL/CGA) | 272.6 | 245.34 | 231.71 | 4 | 192 | 11.67
6520410UL | Ball Valve 600# 4" NPT Thread Full Port (UL/CGA) | 404.36 | 363.92 | 343.71 | 2 | 96 | 19.25
BRASS BALL VALVES NPT 600# LEAD FREE
6520690-050 | Ball Valve Lead Free 600# 1/2" NPT Thread Full Port (UL/CSA) | 8.16 | 7.34 | 6.94 | 100 | 4800 | 0.49
6520690-075 | Ball Valve Lead Free 600# 3/4" NPT Thread Full Port (UL/CSA) | 13.68 | 12.31 | 11.63 | 60 | 2880 | 0.8
6520690-100 | Ball Valve Lead Free 600# 1" NPT Thread Full Port (UL/CSA) | 20.86 | 18.77 | 17.73 | 36 | 1728 | 1.1
6520690-125 | Ball Valve Lead Free 600# 1-1/4" NPT Thread Full Port (UL/CSA) | 34.21 | 30.79 | 29.08 | 24 | 1152 | 1.83
6520690-150 | Ball Valve Lead Free 600# 1-1/2" NPT Thread Full Port (UL/CSA) | 45.06 | 40.55 | 38.3 | 16 | 768 | 2.5
6520690-200 | Ball Valve Lead Free 600# 2" NPT Thread Full Port (UL/CSA) | 74.98 | 67.48 | 63.73 | 8 | 384 | 4.2
6520690-250 | Ball Valve Lead Free 600# 2-1/2" NPT Thread Full Port (UL/CSA) | 213.58 | 192.22 | 181.54 | 4 | 192 | 7
6520690-300 | Ball Valve Lead Free 600# 3" NPT Thread Full Port (UL/CSA) | 323.86 | 291.47 | 275.28 | 4 | 192 | 11.67
6520690-400 | Ball Valve Lead Free 600# 4" NPT Thread Full Port (UL/CSA) | 480.28 | 432.25 | 408.24 | 2 | 96 | 19.25